## Slide 1
XP PLUS Intro High Efficiency Circulating Water Heater

## Slide 2: New XP PLUS
New design high input models
Replaces existing McBee large XWH models
Inputs 1.25M to 4M, our largest
Matches with storage tank
Industrial and large commercial applications

## Slide 3: Comparison

## Slide 4: Circulating Water Heater Line
Model Family | HW Burkay | Genesis | VF | XP | XPPLUS
Design | Non-Condensing |  |  | Condensing | Condensing
BTU/HR Range | 120K-670K | 399K-2.1M | 500K-2M | 150K - 800K | 1.25M – 4.0M
Modulation | None | Staged Fired | 4:1 | 5:1 | 5:1
Heat Exchanger | Copper Fin Tube | Copper Fin Tube | Copper Fin Tube | Stainless Steel | Stainless Steel

## Slide 5: XP PLUS
Dimensions |  |  | 
UNIT | WIDTH | HEIGHT | DEPTH
PWH-1250NP | 34" | 51-1/2" | 49"
PWH-1500NP | 34" | 51-1/2" | 52-3/4"
PWH-2000NP | 34" | 51-1/2" | 65-1/2"
PWH-3000NP | 48-1/4" | 67-1/4" | 79-3/4"
PWH-4000NP | 48-1/4" | 67-1/4" | 96"

## Slide 6
XP PLUS Clearances

## Slide 7
Heat Exchanger
  5:1 Turndown Combustion System
  Heavy-Duty 316L Stainless Steel Heat Exchanger
  Rail Mounted Door for Excellent Serviceability
  5-Year Non-Prorated Warranty
XP PLUS Heat Exchanger
Notes: Here is an image of the new large input heat exchanger.
First, the burner is the key component in the combustion system that operates on a 5:1 turndown. The radial burner is 411 stainless steel and designed exclusively for this high quality heat exchanger.
The heavy duty heat exchanger is 316L Stainless Steel. It is a water tube design meaning with put the water inside the tubes which is key for flow control and lime scale free operation.
I cannot impress upon you how substantial this heat exchanger is. The door (into which the burner is mounted) is cut from 1-1/2 inch think stainless steel. It is so heavy that the door is mounted on a rail that allows us to pull the door back and turn it on a hinge for service access.
A heat exchanger this strong deserves nothing less than a five year non-prorated warranty.

## Slide 8
XP PLUS Vent Sizes and Lengths

## Slide 9
XP PLUS Vent Materials PVC/CPVC

## Slide 10
XP PLUS Vent Materials Polypropylene

## Slide 11
XP PLUS Vent Materials Stainless Steel

## Slide 12
XP PLUS Direct Vent Options

## Slide 13
XP PLUS Venting Options – Room Air

## Slide 14
XP PLUS Venting Options – Common Vent

## Slide 15
XP PLUS Outdoor Applications

## Slide 16
Models
  PWH1.25
  PWH1.5
  PWH2.0
      Filter Size - 16 x 20 x 1
  PWH3.0
  PWH4.0
      Filter Size - 24 x 30 x 1
XP PLUS Combustion Air Filter

## Slide 17
Water Chemistry
Piping
XP PLUS Water Chemistry & Pump Info
Notes: Water chemistry is very important. With this vital information found in our installation manuals, you can make important decisions. The forced circulation design of the water tube can deliver lime scale free operation. Logically though, the customer can have spectacularly hard water that would be damaging to any water heater.
This information tells us what we need and how to operation the water heater based on typical water chemistry. If the water chemistry is outside the range of 5-15 grains, then action would need to be taken to bring the water into proportional quality.

## Slide 18
2 ½” water connections for 1250-2000 models
4” water connections for 3000 & 4000 models
Connections are made with Victaulic adapters
XP PLUS Water Piping

## Slide 19
Weight support of circulating pump may be needed
XP PLUS Piping – Single Unit

## Slide 20
Piping
Upsized Pump
Standard Pump
XP PLUS Piping – Multiple Units

## Slide 21
For 1250 & 1500 models connect 120V electrical supply
For 2000 & 3000 models connect 208V 3 phase electrical supply
For 4000 models connect 480V 3 phase electrical supply
Model | Unit Amp Draw | Pump Amp Draw
1250 | 9.9 | 11.2
1500 | 7.8 | 11.2
2000 | 1.3 | 9.6
3000 | 2 | 13.4
4000 | 2.3 | 6.1
XP PLUS Electrical Requirements

## Slide 22
120V 1ph
L
N
G
* Relay (Field Supplied)
*Service switches recommended
(Not illustrated)
1HP 115V 1ph
L
N
*Ground Not Illustrated
XP PLUS Wiring 1250- 1500 Models

## Slide 23
Wiring
L2
L1
208V 3ph
L3
N
G
*Definite Purpose Contactor/ Relay (Field Supplied)
*Service switches recommended
(Not illustrated)
L2
L1
L3
XP PLUS Wiring 2000 & 3000 Models

## Slide 24
L2
L1
480V 3ph
L3
N
G
*Definite Purpose Contactor/ Relay (Field Supplied)
*Service switches recommended
(Not illustrated)
L2
L1
L3
XP PLUS Wiring 4000 Model

## Slide 25
XP PLUS Wiring – Low Voltage Connections

## Slide 26
Gas lines sized per the National Fuel Gas Code
Natural gas requirements are 14” w.c. maximum to 4” w.c. minimum
Propane gas requirements are 14” w.c. maximum to 8” w.c minimum
Unit | Inlet Connection Size
1250 | 1 ½”
1500 | 1 ½”
2000 | 1 ½”
3000 | 2”
4000 | 2 ½”
XP PLUS Gas Supply Requirements

## Slide 27
XP PLUS Gas Supply Piping

## Slide 28
Units may be converted to propane with the addition of a propane orifice and an air orifice plate for 3000 & 4000 models. Kits available
XP PLUS LP Gas Conversion

## Slide 29
XP PLUS LP Gas Conversion

## Slide 30
XP PLUS Condensate Removal

## Slide 31
  Built-In Cascading Sequencer for up to 8 Water Heaters
Controls
Leader
Member 1
Member 2
Member 3
Member 4
Member 5
Member 6
Member 7
XP PLUS Controls
Notes: Cascade Sequencing will allow up to eight water heaters to communicate and work together as a team. One water heater is assigned as the Leader. The Leader can be daisy-chained together with up to seven “Member” water heaters. The Leader will guide the Member water heaters to deliver the most efficiency operation of multiple units. This is a valuable feature for large commercial applications where multiple water heaters are the norm. Extra note, each day the Leader water heater will assign “First ON” to a different water heater. This rotation of “First ON” puts equal use on the appliances over the course of the season.

## Slide 32
Display
8” Touch screen display
XP PLUS Controls

## Slide 33
Questions?