## Slide 1: Texas BTN to BTL Low NOx

## Slide 2: BTN to BTL
BTN Design
BTL Design

## Slide 3: Model Number Compare
A. O. Smith | 
Old BTN | New BTL
BTN-120 | BTL-120
BTN-154 | BTL-154
BTN-180 | BTL-180
N/A | BTL-198
BTN-199 | BTL-199
BTN-200 | N/A
BTN-250 | BTL-250
BTN-275 | BTL-275
BTN-310 | BTL-310
BTN-366 | BTL-366
BTN-400 | BTL-400
BTN-200A | N/A
BTN-250A | BTL-250A
BTN-275A | BTL-275A
BTN-310A | BTL-310A
BTN-366A | BTL-366A
BTN-400A | BTL-400A

## Slide 4: Design Comparison
 | BTN Design | BTL Design
Model Range | 120 - 400 | 120 - 400
199K Models | 100 Gallon Only | 80 & 100 Gallon
100/199 Height | 72" | 71-3/4"
100/199 Diameter | 27-3/4" | 27-3/4"
Blower | Top - Pull blower | Bottom - Push blower
Pressure Switch Max Deformation Pressure | 8" W.C. | 14" W.C.
Gas Valve | Honeywell | White Rodgers
Ignitor | Hot Surface | Spark to Pilot
Burner | Swordfish w/bracket | Tube Burner

## Slide 5: New BTL Series 200 Design
Key Product Attributes:
  Exceeds TX NOx by 200%
  80% thermal efficiency
  New 80 gallon 199K
  No damper design
  Designed for reliability
  Self cleaning with front inlet
  Ultra Coat glassing
  Top, Front, Rear water connections

## Slide 6: New BCL Series 200 Design
3 tank capacities
10 models
  81 Gal: 120, 154, 180, 198
  100 Gal: 199, 250, 275
  86 Gal: 310, 366, 400

## Slide 7: New BTL Series 200 Design

## Slide 8: BTL Series 200 Combustion Chamber
.

## Slide 9: New BTL Series 200 Burner Assembly
.

## Slide 10: New BTL Series 200 Blower Assembly
.

## Slide 11: New BTL Series 200 Control Assembly
.